## Weibull
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEAA | Choose Category / Component
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEAD | Top Box - WETB
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEBI
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEBM | Weibull - Top Box - WETB - All
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEDB | Months | Cumulative Failure Rate | 0.5 Line | 1 Line | 1.5 Line | Beta Line | Linear Start | Wear Out Start | Beta Line - 0 Intercept
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEPS | 0 | 1.8868 | 0 | 0 | 0 | -4.1053 | 0 | 0 | 0
Down Tower Assembly (PDC, CFC, MCC, CBC) - BPPB | 1 | 3.7736 | 0.5 | 1 | 1.5 | -2.69 |  |  | 1.1075
Down Tower Assembly (PDC, CFC, MCC, CBC) - Breaker | 2 | 3.7736 | 1 | 2 | 3 | -1.2747 |  |  | 2.2149
Down Tower Assembly (PDC, CFC, MCC, CBC) - Contactor | 3 | 4.2453 | 1.5 | 3 | 4.5 | 0.14061 |  |  | 3.3224
Down Tower Assembly (PDC, CFC, MCC, CBC) - Converter (Line Side) | 4 | 5.6604 | 2 | 4 | 6 | 1.5559 |  |  | 4.4299
Down Tower Assembly (PDC, CFC, MCC, CBC) - Converter (Rotor Side) | 5 | 6.1321 | 2.5 | 5 | 7.5 | 2.9712 |  |  | 5.5374
Down Tower Assembly (PDC, CFC, MCC, CBC) - Current Transformer (CT) | 6 | 6.6038 | 3 | 6 | 9 | 4.3865 |  |  | 6.6448
Down Tower Assembly (PDC, CFC, MCC, CBC) - IGBT Module | 7 | 6.6038 | 3.5 | 7 | 10.5 | 5.8018 |  |  | 7.7523
Down Tower Assembly (PDC, CFC, MCC, CBC) - MACC | 8 | 6.6038 | 4 | 8 | 12 | 7.2171 |  |  | 8.8598
Down Tower Assembly (PDC, CFC, MCC, CBC) - Main Circuit Breaker, Q1 | 9 | 7.0755 | 4.5 | 9 | 13.5 | 8.6324 |  |  | 9.9673
Down Tower Assembly (PDC, CFC, MCC, CBC) - Sync Contactor, K1 | 10 | 7.0755 | 5 | 10 | 15 | 10.0477 |  |  | 11.0747
Down Tower Assembly (PDC, CFC, MCC, CBC) - UCSA | 11 | 8.0189 | 5.5 | 11 | 16.5 | 11.463 |  |  | 12.1822
Down Tower Assembly (PDC, CFC, MCC, CBC) - WECA | 12 | 8.4906 | 6 | 12 | 18 | 12.8783 |  |  | 13.2897
Down Tower Assembly (PDC, CFC, MCC, CBC) - WEMA | 13 | 8.9623 | 6.5 | 13 | 19.5 | 14.2936 |  |  | 14.3971
Down Tower Assembly (PDC, CFC, MCC, CBC) - WEMD | 14 | 11.3208 | 7 | 14 | 21 | 15.7089 |  |  | 15.5046
Down Tower Assembly (PDC, CFC, MCC, CBC) - WEOR | 15 | 12.2642 | 7.5 | 15 | 22.5 | 17.1242 |  |  | 16.6121
Gearbox - Gear Oil Pump | 16 | 14.6226 | 8 | 16 | 24 | 18.5395 |  |  | 17.7196
Gearbox - Gear Oil Pump Motor | 17 | 16.0377 | 8.5 | 17 | 25.5 | 19.9547 |  |  | 18.827
Gearbox - Gearbox | 18 | 16.5094 | 9 | 18 | 27 | 21.37 |  |  | 19.9345
Generator - Generator | 19 | 16.9811 | 9.5 | 19 | 28.5 | 22.7853 |  |  | 21.042
Generator - Rotor Connection | 20 | 19.8113 | 10 | 20 | 30 | 24.2006 |  |  | 22.1495
Generator - Slipring | 21 | 21.2264 | 10.5 | 21 | 31.5 | 25.6159 |  |  | 23.2569
High Speed Shaft Assembly - High Speed Shaft Assembly | 22 | 25.9434 | 11 | 22 | 33 | 27.0312 |  |  | 24.3644
High Speed Shaft Assembly - Coupling | 23 | 27.3585 | 11.5 | 23 | 34.5 | 28.4465 |  |  | 25.4719
Hub / Blades - Blade 3 Fiberglass | 24 | 29.717 | 12 | 24 | 36 | 29.8618 |  |  | 26.5794
Hub / Blades - Blade 2 Fiberglass | 25 | 30.6604 | 12.5 | 25 | 37.5 | 31.2771 |  |  | 27.6868
Hub / Blades - Blade 1 Fiberglass | 26 | 31.6038 | 13 | 26 | 39 | 32.6924 |  |  | 28.7943
Main Shaft - Main Bearing | 27 | 33.0189 | 13.5 | 27 | 40.5 | 34.1077 |  |  | 29.9018
Main Shaft - Main Shaft | 28 | 33.9623 | 14 | 28 | 42 | 35.523 |  |  | 31.0092
Nacelle - Ultrasonic Wind Sensor (Sonic) | 29 | 36.3208 | 14.5 | 29 | 43.5 | 36.9383 |  |  | 32.1167
Pad Mount Transformer - Transformer | 30 | 37.2642 | 15 | 30 | 45 | 38.3536 |  |  | 33.2242
Pitch System Control - (Axis 1 & Battery Enclosure) - Axis 1 - AEPA | 31 | 41.0377 | 15.5 | 31 | 46.5 | 39.7689 |  |  | 34.3317
Pitch System Control - (Axis 1 & Battery Enclosure) - Axis 1 - AEPC | 32 | 43.3962 | 16 | 32 | 48 | 41.1842 |  |  | 35.4391
Pitch System Control - (Axis 1 & Battery Enclosure) - Axis 1 - Pitch Drive | 33 | 46.2264 | 16.5 | 33 | 49.5 | 42.5995 |  |  | 36.5466
Pitch System Control - (Axis 1 & Battery Enclosure) - Axis 1 - Power Converter | 34 | 48.1132 | 17 | 34 | 51 | 44.0148 |  |  | 37.6541
Pitch System Control - (Axis 1 & Battery Enclosure) - ENET Switch | 35 | 50.9434 | 17.5 | 35 | 52.5 | 45.4301 |  |  | 38.7616
Pitch System Control - Pitch Center Box - Pitch Center Box - AEPC | 36 | 51.8868 | 18 | 36 | 54 | 46.8454 |  |  | 39.869
Slipring Transformer - Slipring | 37 | 52.3585 | 18.5 | 37 | 55.5 | 48.2607 |  |  | 40.9765
Top Box - Breaker | 38 | 54.2453 | 19 | 38 | 57 | 49.676 |  |  | 42.084
Top Box - Contactor | 39 | 54.717 | 19.5 | 39 | 58.5 | 51.0913 |  |  | 43.1914
Top Box - Overvoltage Protection | 40 | 55.1887 | 20 | 40 | 60 | 52.5065 |  |  | 44.2989
Top Box - TVSS | 41 | 56.1321 | 20.5 | 41 | 61.5 | 53.9218 |  |  | 45.4064
Top Box - WETA | 42 | 56.6038 | 21 | 42 | 63 | 55.3371 |  |  | 46.5139
Top Box - WETB | 43 | 56.6038 | 21.5 | 43 | 64.5 | 56.7524 |  |  | 47.6213
Top Box - WETC | 44 | 60.3774 | 22 | 44 | 66 | 58.1677 |  |  | 48.7288
Tower - Ladder | 45 | 61.7925 | 22.5 | 45 | 67.5 | 59.583 |  |  | 49.8363
Tower - Power Cables | 46 | 62.2642 | 23 | 46 | 69 | 60.9983 |  |  | 50.9438
Yaw System - Breaker | 47 | 62.2642 | 23.5 | 47 | 70.5 | 62.4136 |  |  | 52.0512
Yaw System - Contactor | 48 | 62.2642 | 24 | 48 | 72 | 63.8289 |  |  | 53.1587
Yaw System - Yaw Bearing | 49 | 62.2642 | 24.5 | 49 | 73.5 | 65.2442 |  |  | 54.2662
Yaw System - Yaw Drive 1 | 50 | 62.2642 | 25 | 50 | 75 | 66.6595 |  |  | 55.3737
Yaw System - Yaw Gear | 51 | 62.7358 | 25.5 | 51 | 76.5 | 68.0748 |  |  | 56.4811
Yaw System - Yaw Motor | 52 | 62.7358 | 26 | 52 | 78 | 69.4901 |  |  | 57.5886
ELECTRICAL - Air Switch (High & Low) | 53 | 62.7358 | 26.5 | 53 | 79.5 | 70.9054 |  |  | 58.6961
ELECTRICAL - Main Power Transformer | 54 | 62.7358 | 27 | 54 | 81 | 72.3207 |  |  | 59.8035
ELECTRICAL - Pad Mount Transformer | 55 | 62.7358 | 27.5 | 55 | 82.5 | 73.736 |  |  | 60.911
ELECTRICAL - Main Breaker (High Side) | 56 | 62.7358 | 28 | 56 | 84 | 75.1513 |  |  | 62.0185
ELECTRICAL - Battery Back-up Substation (RTU) | 57 | 62.7358 | 28.5 | 57 | 85.5 | 76.5666 |  |  | 63.126
ELECTRICAL - Collection Circuit Cable | 58 | 62.7358 | 29 | 58 | 87 | 77.9819 |  |  | 64.2334
ELECTRICAL - Collection Circuit Breaker | 59 | 62.7358 | 29.5 | 59 | 88.5 | 79.3972 |  |  | 65.3409
Total | 60 | 62.7358 | 30 | 60 | 90 | 80.8125 |  |  | 66.4484
GENERAL | 61 | 62.7358 | 30.5 | 61 | 91.5 | 82.2278 |  |  | 67.5559
ELECTRICAL | 62 | 62.7358 | 31 | 62 | 93 | 83.6431 |  |  | 68.6633
MECHANICAL | 63 | 62.7358 | 31.5 | 63 | 94.5 | 85.0583 |  |  | 69.7708
INSTRUMENTATION | 64 | 62.7358 | 32 | 64 | 96 | 86.4736 |  |  | 70.8783
| 65 | 62.7358 | 32.5 | 65 | 97.5 | 87.8889 |  |  | 71.9857
| 66 | 62.7358 | 33 | 66 | 99 | 89.3042 |  |  | 73.0932
| 67 | 62.7358 | 33.5 | 67 | 100.5 | 90.7195 |  |  | 74.2007
| 68 | 62.7358 | 34 | 68 | 102 | 92.1348 |  |  | 75.3082
| 69 | 62.7358 | 34.5 | 69 | 103.5 | 93.5501 |  |  | 76.4156
| 70 | 62.7358 | 35 | 70 | 105 | 94.9654 |  |  | 77.5231
| 71 | 62.7358 | 35.5 | 71 | 106.5 | 96.3807 |  |  | 78.6306
| 72 | 62.7358 | 36 | 72 | 108 | 97.796 |  |  | 79.7381
| 73 |  | 36.5 | 73 | 109.5 | 99.2113 |  |  | 80.8455
| 74 |  | 37 | 74 | 111 | 100.6266 |  |  | 81.953
| 75 |  | 37.5 | 75 | 112.5 | 102.0419 |  |  | 83.0605
| 76 |  | 38 | 76 | 114 | 103.4572 |  |  | 84.168
| 77 |  | 38.5 | 77 | 115.5 | 104.8725 |  |  | 85.2754
| 78 |  | 39 | 78 | 117 | 106.2878 |  |  | 86.3829
| 79 |  | 39.5 | 79 | 118.5 | 107.7031 |  |  | 87.4904
| 80 |  | 40 | 80 | 120 | 109.1184 |  |  | 88.5978
| 81 |  | 40.5 | 81 | 121.5 | 110.5337 |  |  | 89.7053
| 82 |  | 41 | 82 | 123 | 111.949 |  |  | 90.8128
| 83 |  | 41.5 | 83 | 124.5 | 113.3643 |  |  | 91.9203
| 84 |  | 42 | 84 | 126 | 114.7796 |  |  | 93.0277
| 85 |  | 42.5 | 85 | 127.5 | 116.1949 |  |  | 94.1352
| 86 |  | 43 | 86 | 129 | 117.6102 |  |  | 95.2427
| 87 |  | 43.5 | 87 | 130.5 | 119.0254 |  |  | 96.3502
| 88 |  | 44 | 88 | 132 | 120.4407 |  |  | 97.4576
| 89 |  | 44.5 | 89 | 133.5 | 121.856 |  |  | 98.5651
| 90 |  | 45 | 90 | 135 | 123.2713 |  |  | 99.6726
| 91 |  | 45.5 | 91 | 136.5 | 124.6866 |  |  | 100.78
| 92 |  | 46 | 92 | 138 | 126.1019 |  |  | 101.8875
| 93 |  | 46.5 | 93 | 139.5 | 127.5172 |  |  | 102.995
| 94 |  | 47 | 94 | 141 | 128.9325 |  |  | 104.1025
| 95 |  | 47.5 | 95 | 142.5 | 130.3478 |  |  | 105.2099