## Critical Spare Parts
INVENTORY CALCULATIONS - Critical Spare Parts
INPUTS
Downtime Cost $/hr | 51 |  | Fixed Cost Per Order |  | 1000
Duke Cost of Capital | 15% |  | Inventory Carrying Cost |  | 35%
Service Level Required | 95%
Critical Spares | Lead Time | 2015 GE List Price | Annual Failure Forecast | Forecast Variability (Sigma) | Downtime Cost Impact ($)/Failure | Total Projected Failure Impact ($) | Inventory Carrying Cost | Inv. Carrying cost per Unit of part | Fixed Cost per Order | EOQ | Demand at 95% Service Factor during LT | Demand/day | Demand during Lead time | Safety Stock | PV of 15 year Carrying Cost for per Unit of part | BreakEven number of parts | Proposed Inventory (25% of Breakeven) | Buy/No Buy Decision | EOQ | SS | Current Inventory | Excess Inventory | Working Capital Impact | Annual Inventory Carrying Cost Savings | Lost Revenue Risk | SS / BE number of parts
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEAA | 219 | 2413 | 1 | 1 | 268056 | 268056 | 35% | 844.55 | 1000 | 1.5389 | 3 | 0.0082192 | 1.8 | 2 | 7351.3964 | 36.4633 | 9.1158 | Buy | 2 | 2 | 16 | 12 | 28956 | 10134.6 |  | 0.05485 | 38608
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEAD | 219 | 3202 | 0 | 0 | 268056 | 0 | 35% | 1120.7 | 1000 | 0 | 0 | 0 | 0 | 0 | 9755.1477 | 27.4784 | 6.8696 | Buy | 0 | 7 | 13 | 6 | 19212 | 6724.2 |  |  | 41626
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEBI | 219 | 2508 | 10 | 5 | 268056 | 2680560 | 35% | 877.8 | 1000 | 4.7733 | 20 | 0.054795 | 12 | 12 | 7640.8215 | 35.0821 | 8.7705 | Buy | 5 | 12 | 54 | 37 | 92796 | 32478.6 |  | 0.34205 | 135432
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEBM |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEDB |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
Down Tower Assembly (PDC, CFC, MCC, CBC) - AEPS | 219 | 2224 | 0 | 0 | 268056 | 0 | 35% | 778.4 | 1000 | 0 | 0 | 0 | 0 | 0 | 6775.5929 | 39.562 | 9.8905 | Buy | 0 | 10 | 7 | -3 | -6672 | -2335.2 |  |  | 15568
Down Tower Assembly (PDC, CFC, MCC, CBC) - BPPB | 205 | 3013 | 1 | 1 | 250920 | 250920 | 35% | 1054.55 | 1000 | 1.3772 | 3 | 0.0082192 | 1.6849 | 2 | 9179.3441 | 27.3353 | 6.8338 | Buy | 1 | 2 | 6 | 3 | 9039 | 3163.65 |  | 0.073166 | 18078
Down Tower Assembly (PDC, CFC, MCC, CBC) - Breaker | 72 | 2702 | 0 | 0 | 88128 | 0 | 35% | 945.7 | 1000 | 0 | 0 | 0 | 0 | 0 | 8231.8579 | 10.7057 | 2.6764 | Buy | 0 | 3 | 9 | 6 | 16212 | 5674.2 |  |  | 24318
Down Tower Assembly (PDC, CFC, MCC, CBC) - Contactor | 72 | 1564 | 1 | 1 | 88128 | 88128 | 35% | 547.4 | 1000 | 1.9114 | 3 | 0.0082192 | 0.59178 | 1 | 4764.8504 | 18.4954 | 4.6239 | Buy | 2 | 1 | 34 | 31 | 48484 | 16969.4 |  | 0.054067 | 53176
Down Tower Assembly (PDC, CFC, MCC, CBC) - Converter (Line Side) | 120 | 8700 | 1 | 1 | 146880 | 146880 | 35% | 3045 | 1000 | 0.81044 | 3 | 0.0082192 | 0.9863 | 1 | 26505.242 | 5.5415 | 1.3854 | Buy | 1 | 1 | 6 | 4 | 34800 | 12180 |  | 0.18046 | 52200
Down Tower Assembly (PDC, CFC, MCC, CBC) - Converter (Rotor Side) | 120 | 2000 | 2 | 1 | 146880 | 293760 | 35% | 700 | 1000 | 2.3905 | 4 | 0.010959 | 1.3151 | 1 | 6093.1591 | 24.1057 | 6.0264 | Buy | 2 | 1 | 7 | 4 | 8000 | 2800 |  | 0.041484 | 14000
Down Tower Assembly (PDC, CFC, MCC, CBC) - Current Transformer (CT) | 114 | 485 | 0 | 0 | 139536 | 0 | 35% | 169.75 | 1000 | 0 | 0 | 0 | 0 | 0 | 1477.5911 | 94.4348 | 23.6087 | Buy | 0 | 24 | 31 | 7 | 3395 | 1188.25 |  |  | 15035
Down Tower Assembly (PDC, CFC, MCC, CBC) - IGBT Module |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
Down Tower Assembly (PDC, CFC, MCC, CBC) - MACC | 205 | 3013.43 | 0 | 0 | 250920 | 0 | 35% | 1054.7005 | 1000 | 0 | 0 | 0 | 0 | 0 | 9180.6542 | 27.3314 | 6.8328 | Buy | 0 | 7 | 3 | -4 | -12053.72 | -4218.802 |  |  | 9040.29
Down Tower Assembly (PDC, CFC, MCC, CBC) - Main Circuit Breaker, Q1 |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 7 | [5 empty] | 0
Down Tower Assembly (PDC, CFC, MCC, CBC) - Sync Contactor, K1 | 90 | 5116.62 | 1 | 1 | 110160 | 110160 | 35% | 1790.817 | 1000 | 1.0568 | 3 | 0.0082192 | 0.73973 | 1 | 15588.1898 | 7.0669 | 1.7667 | Buy | 1 | 1 | 10 | 8 | 40932.96 | 14326.536 |  | 0.1415 | 51166.2
Down Tower Assembly (PDC, CFC, MCC, CBC) - UCSA | 179 | 3068 | 1 | 1 | 219096 | 219096 | 35% | 1073.8 | 1000 | 1.3648 | 3 | 0.0082192 | 1.4712 | 1 | 9346.906 | 23.4405 | 5.8601 | Buy | 1 | 1 | 8 | 6 | 18408 | 6442.8 |  | 0.042661 | 24544
Down Tower Assembly (PDC, CFC, MCC, CBC) - WECA |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
Down Tower Assembly (PDC, CFC, MCC, CBC) - WEMA | 205 | 2468 | 0 | 0 | 250920 | 0 | 35% | 863.8 | 1000 | 0 | 0 | 0 | 0 | 0 | 7518.9583 | 33.3716 | 8.3429 | Buy | 0 | 8 | 17 | 9 | 22212 | 7774.2 |  |  | 41956
Down Tower Assembly (PDC, CFC, MCC, CBC) - WEMD |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
Down Tower Assembly (PDC, CFC, MCC, CBC) - WEOR | 219 | 1026 | 0 | 0 | 268056 | 0 | 35% | 359.1 | 1000 | 0 | 0 | 0 | 0 | 0 | 3125.7906 | 85.7562 | 21.4391 | Buy | 0 | 21 | 8 | -13 | -13338 | -4668.3 |  |  | 8208
Gearbox - Gear Oil Pump | 93 | 986 | 0 | 0 | 113832 | 0 | 35% | 345.1 | 1000 | 0 | 0 | 0 | 0 | 0 | 3003.9274 | 37.8944 | 9.4736 | Buy | 0 | 9 | 0 | -9 | -8874 | -3105.9 | 108140.4 |  | 0
Gearbox - Gear Oil Pump Motor | 121 | 2049 | 1 | 1 | 148104 | 148104 | 35% | 717.15 | 1000 | 1.67 | 3 | 0.0082192 | 0.99452 | 1 | 6242.4415 | 23.7253 | 5.9313 | Buy | 2 | 1 | 4 | 1 | 2049 | 717.15 |  | 0.042149 | 8196
Gearbox - Gearbox | 150 | 103889 | 0 | 0 | 183600 | 0 | 35% | 36361.15 | 1000 | 0 | 0 | 0 | 0 | 0 | 316506.1013 | 0.58008 | 0.14502 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Generator - Generator | 120 | 140000 | 0 | 0 | 146880 | 0 | 35% | 49000 | 1000 | 0 | 0 | 0 | 0 | 0 | 426521.1348 | 0.34437 | 0.086092 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Generator - Rotor Connection |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
Generator - Slipring | 30 | 5265.36 | 1 | 1 | 36720 | 36720 | 35% | 1842.876 | 1000 | 1.0418 | 3 | 0.0082192 | 0.24658 | 0 | 16041.338 | 2.2891 | 0.57227 | Buy | 1 | 0 | 3 | 2 | 10530.72 | 3685.752 |  | 0 | 15796.08
High Speed Shaft Assembly - High Speed Shaft Assembly |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
High Speed Shaft Assembly - Coupling | 205 | 6419 | 1 | 1 | 250920 | 250920 | 35% | 2246.65 | 1000 | 0.94351 | 3 | 0.0082192 | 1.6849 | 2 | 19555.994 | 12.8308 | 3.2077 | Buy | 1 | 2 | 5 | 2 | 12838 | 4493.3 |  | 0.15587 | 32095
Hub / Blades - Blade 3 Fiberglass | 180 | 90000 | 0 | 0 | 220320 | 0 | 35% | 31500 | 1000 | 0 | 0 | 0 | 0 | 0 | 274192.1581 | 0.80352 | 0.20088 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Hub / Blades - Blade 2 Fiberglass | 180 | 90000 | 0 | 0 | 220320 | 0 | 35% | 31500 | 1000 | 0 | 0 | 0 | 0 | 0 | 274192.1581 | 0.80352 | 0.20088 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Hub / Blades - Blade 1 Fiberglass | 180 | 90000 | 0 | 0 | 220320 | 0 | 35% | 31500 | 1000 | 0 | 0 | 0 | 0 | 0 | 274192.1581 | 0.80352 | 0.20088 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Main Shaft - Main Bearing | 219 | 12900 | 0 | 0 | 268056 | 0 | 35% | 4515 | 1000 | 0 | 0 | 0 | 0 | 0 | 39300.876 | 6.8206 | 1.7052 | Buy | 0 | 2 | 0 | -2 | -25800 | -9030 | 254653.2 |  | 0
Main Shaft - Main Shaft | 219 | 53500 | 0 | 0 | 268056 | 0 | 35% | 18725 | 1000 | 0 | 0 | 0 | 0 | 0 | 162992.0051 | 1.6446 | 0.41115 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Nacelle - Ultrasonic Wind Sensor (Sonic) | 23 | 647 | 28 | 19 | 28152 | 788256 | 35% | 226.45 | 1000 | 15.7256 | 66 | 0.18082 | 4.1589 | 4 | 1971.137 | 14.2821 | 3.5705 | Buy | 16 | 4 | 15 | -5 | -3235 | -1132.25 |  | 0.28007 | 9705
Pad Mount Transformer - Transformer | 110 | 55000 | 0 | 0 | 134640 | 0 | 35% | 19250 | 1000 | 0 | 0 | 0 | 0 | 0 | 167561.8744 | 0.80352 | 0.20088 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Pitch System Control - (Axis 1 & Battery Enclosure) - Axis 1 - AEPA | 205 | 2658 | 4 | 4 | 250920 | 1003680 | 35% | 930.3 | 1000 | 2.9325 | 12 | 0.032877 | 6.7397 | 7 | 8097.8084 | 30.9862 | 7.7465 | Buy | 3 | 7 | 14 | 4 | 10632 | 3721.2 |  | 0.22591 | 37212
Pitch System Control - (Axis 1 & Battery Enclosure) - Axis 1 - AEPC | 205 | 1708 | 0 | 0 | 250920 | 0 | 35% | 597.8 | 1000 | 0 | 0 | 0 | 0 | 0 | 5203.5578 | 48.2209 | 12.0552 | Buy | 0 | 12 | 0 | -12 | -20496 | -7173.6 | 238374 |  | 0
Pitch System Control - (Axis 1 & Battery Enclosure) - Axis 1 - Pitch Drive | 189 | 2571.35 | 1 | 1 | 231336 | 231336 | 35% | 899.9725 | 1000 | 1.4907 | 3 | 0.0082192 | 1.5534 | 2 | 7833.8223 | 29.5304 | 7.3826 | Buy | 1 | 2 | 10 | 7 | 17999.45 | 6299.8075 |  | 0.067727 | 25713.5
Pitch System Control - (Axis 1 & Battery Enclosure) - Axis 1 - Power Converter | 180 | 4020 | 8 | 8 | 220320 | 1762560 | 35% | 1407 | 1000 | 3.3722 | 24 | 0.065753 | 11.8356 | 12 | 12247.2497 | 17.9893 | 4.4973 | Buy | 3 | 12 | 15 | 0 | 0 | 0 |  | 0.66706 | 60300
Pitch System Control - (Axis 1 & Battery Enclosure) - ENET Switch | 50 | 1033 | 1 | 1 | 61200 | 61200 | 35% | 361.55 | 1000 | 2.352 | 3 | 0.0082192 | 0.41096 | 0 | 3147.1167 | 19.4464 | 4.8616 | Buy | 2 | 0 | 38 | 36 | 37188 | 13015.8 |  | 0 | 39254
Pitch System Control - Pitch Center Box - Pitch Center Box - AEPC | 205 | 1707.98 | 3 | 3 | 250920 | 752760 | 35% | 597.793 | 1000 | 3.1681 | 9 | 0.024658 | 5.0548 | 5 | 5203.4969 | 48.2214 | 12.0554 | Buy | 3 | 5 | 11 | 3 | 5123.94 | 1793.379 |  | 0.10369 | 18787.78
Gearbox - Slipring | 40 | 4551 | 9 | 2 | 48960 | 440640 | 35% | 1592.85 | 1000 | 3.3616 | 13 | 0.035616 | 1.4247 | 1 | 13864.9835 | 3.5312 | 0.8828 | Buy | 3 | 1 | 6 | 2 | 9102 | 3185.7 |  | 0.28319 | 27306
Top Box - Breaker |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 35 | [5 empty] | 0
Top Box - Contactor | 75 | 100 | 11 | 9 | 91800 | 1009800 | 35% | 35 | 1000 | 25.0713 | 29 | 0.079452 | 5.9589 | 6 | 304.658 | 301.3215 | 75.3304 | Buy | 25 | 6 | 139 | 108 | 10800 | 3780 |  | 0.019912 | 13900
Top Box - Overvoltage Protection | 81 | 442.15 | 0 | 0 | 99144 | 0 | 35% | 154.7525 | 1000 | 0 | 0 | 0 | 0 | 0 | 1347.0451 | 73.6011 | 18.4003 | Buy | 0 | 18 | 0 | -18 | -7958.7 | -2785.545 | 94186.8 |  | 0
Top Box - TVSS |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
Top Box - WETA | 205 | 4859 | 1 | 1 | 250920 | 250920 | 35% | 1700.65 | 1000 | 1.0844 | 3 | 0.0082192 | 1.6849 | 2 | 14803.33 | 16.9502 | 4.2376 | Buy | 1 | 2 | 11 | 8 | 38872 | 13605.2 |  | 0.11799 | 53449
Top Box - WETB | 205 | 5055 | 17 | 3 | 250920 | 4265640 | 35% | 1769.25 | 1000 | 4.3837 | 23 | 0.063014 | 12.9178 | 13 | 15400.4595 | 16.293 | 4.0733 | Buy | 4 | 13 | 8 | -9 | -45495 | -15923.25 |  | 0.79789 | 40440
Top Box - WETC | 205 | 5183 | 0 | 0 | 250920 | 0 | 35% | 1814.05 | 1000 | 0 | 0 | 0 | 0 | 0 | 15790.4217 | 15.8906 | 3.9727 | Buy | 0 | 4 | 15 | 11 | 57013 | 19954.55 |  |  | 77745
Tower - Ladder | 90 | 263 | 0 | 0 | 110160 | 0 | 35% | 92.05 | 1000 | 0 | 0 | 0 | 0 | 0 | 801.2504 | 137.4851 | 34.3713 | Buy | 0 | 34 | 0 | -34 | -8942 | -3129.7 | 104652 |  | 0
Tower - Power Cables | 32 | 14164.3 | 0 | 0 | 39168 | 0 | 35% | 4957.505 | 1000 | 0 | 0 | 0 | 0 | 0 | 43152.6665 | 0.90766 | 0.22692 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
Yaw System - Breaker |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
Yaw System - Contactor |  |  | 0 | 0 | 0 | 0 | 35% | 0 | 1000 |  | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 |  | 0 | [5 empty] | 0
Yaw System - Yaw Bearing | 180 | 8600 | 2 | 2 | 220320 | 440640 | 35% | 3010 | 1000 | 1.1528 | 6 | 0.016438 | 2.9589 | 3 | 26200.584 | 8.409 | 2.1022 | Buy | 1 | 3 | 8 | 4 | 34400 | 12040 |  | 0.35676 | 68800
Yaw System - Yaw Drive 1 | 153 | 7182 | 0 | 0 | 187272 | 0 | 35% | 2513.7 | 1000 | 0 | 0 | 0 | 0 | 0 | 21880.5342 | 8.5588 | 2.1397 | Buy | 0 | 2 | 0 | -2 | -14364 | -5027.4 | 177908.4 |  | 0
Yaw System - Yaw Gear | 180 | 12067 | 0 | 0 | 220320 | 0 | 35% | 4223.45 | 1000 | 0 | 0 | 0 | 0 | 0 | 36763.0752 | 5.993 | 1.4982 | Buy | 0 | 1 | 0 | -1 | -12067 | -4223.45 | 209304 |  | 0
Yaw System - Yaw Motor | 125 | 2297.4 | 2 | 2 | 153000 | 306000 | 35% | 804.09 | 1000 | 2.2304 | 6 | 0.016438 | 2.0548 | 2 | 6999.2118 | 21.8596 | 5.4649 | Buy | 2 | 2 | 12 | 8 | 18379.2 | 6432.72 |  | 0.091493 | 27568.8
ELECTRICAL - Air Switch (High & Low) | 120 | 30000 | 0 | 0 | 146880 | 0 | 35% | 10500 | 1000 | 0 | 0 | 0 | 0 | 0 | 91397.386 | 1.607 | 0.40176 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
ELECTRICAL - Main Power Transformer | 380 | 1500000 | 0 | 0 | 465120 | 0 | 35% | 525000 | 1000 | 0 | 0 | 0 | 0 | 0 | 4569869.3018 | 0.10178 | 0.025445 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
ELECTRICAL - Pad Mount Transformer | 110 | 55000 | 0 | 0 | 134640 | 0 | 35% | 19250 | 1000 | 0 | 0 | 0 | 0 | 0 | 167561.8744 | 0.80352 | 0.20088 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
ELECTRICAL - Main Breaker (High Side) | 250 | 220000 | 0 | 0 | 306000 | 0 | 35% | 77000 | 1000 | 0 | 0 | 0 | 0 | 0 | 670247.4976 | 0.45655 | 0.11414 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
ELECTRICAL - Battery Back-up Substation (RTU) | 120 | 40000 | 0 | 0 | 146880 | 0 | 35% | 14000 | 1000 | 0 | 0 | 0 | 0 | 0 | 121863.1814 | 1.2053 | 0.30132 | No Buy | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
ELECTRICAL - Collection Circuit Cable | 120 | 5 | 0 | 0 | 146880 | 0 | 35% | 1.75 | 1000 | 0 | 0 | 0 | 0 | 0 | 15.2329 | 9642.2889 | 2410.5722 | Buy | 0 | 2411 | 0 | -2411 | -12055 | -4219.25 | 139536 |  | 0
ELECTRICAL - Collection Circuit Breaker | 250 | 30000 | 0 | 0 | 306000 | 0 | 35% | 10500 | 1000 | 0 | 0 | 0 | 0 | 0 | 91397.386 | 3.348 | 0.837 | Buy | 0 | 1 | 0 | -1 | -30000 | -10500 | 290700 |  | 0
[21 empty] | Total Impact |  | 386023.85 | 135108.3475 | 1617454.8 | 0.18 | 1099223.65 | 384728.2775
average
[20 empty] | Parts with Increase in inventory |  | 14 | -221350.42 | -77472.647 |  |  | 35.12% | 0.35118
[20 empty] | Parts with decrease in inventory |  | 25 | 607374.27 | 212580.9945
[20 empty] | Parts with no change |  | 14 | 0 | 0 | 92032560
[20 empty] | Parts with missing data |  | 12 |  |  | 1.757%
23.9
1.8
7.531%
Note on B4: Gencore: Based on Duke Spare Parts Calculator
Note on G4: Gencore: Assumed
Note on B5: Gencore: Assumed
Note on G5: Gencore: Based on Duke Spares Calculator
Note on B6: Gencore: Assumed
Note on B8: Gencore: Info in Parts LT and Cost sheet
Note on C8: Gencore: Info in Parts LT and cost Sheet
Note on D8: Gencore: Based on Genpact Failure Forecast Data
Note on E8: Gencore: Genpact Failure Forecast Analysis, provides forecast variability (std. deviation)
Note on Q8: Gencore: Includes the cost of the part to account for obsolescence
Note on T8: Gencore: If breakeven number of parts is greater than 2, then buy, else no buy
Note on W8: Gencore: Info in List of Inventory Sheet
Note on C72: Gencore: $ 5/ft.
Note on V72: Gencore: Feet of Cable
Note on X72: Gencore: This represents FEET of cable!